{"text_format":"3","workbook":"xls","n_sheets":12,"sheets":["封-1招标工程量清单封面(0)","封-1招标工程量清单封面(单位工程)(0)","扉-1招标工程量清单扉页(0)","扉-1招标工程量清单扉页(单位工程)(0)","表-08分部分项工程和单价措施项目清单与计价表(0)","表-11总价措施项目清单与计价表(1)","表-12其他项目清单与计价汇总表(1)","表-12-1暂列金额明细表(1)","表-12-2材料(工程设备)暂估单价及调整表(1)","表-12-3专业工程暂估价及结算价表(1)","表-13规费、税金项目计价表(1)","表-20发包人提供材料和工程设备一览表(1)"],"not_rendered":{"external_links":1,"defined_names":7},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"封-1招标工程量清单封面(0)","index":0,"n_rows":18,"n_cols":11,"rows_kept":18,"merged":[[1,2,1,8],[4,0,4,11],[8,0,8,11],[9,0,9,11],[10,0,10,11],[11,3,11,8],[12,3,12,8],[13,3,13,8],[14,3,14,8],[15,2,15,8],[16,0,16,1],[16,2,16,3],[16,4,16,6]],"flags":["formulas_cached_only"]}
[]
[null,null,"江南店搬迁室外幕墙工程",{"$nulls":6},"工程"]
[]
[]
["招标工程量清单"]
[]
[]
[]
[]
[]
[]
["   ",null," 招  标  人:"]
[{"$nulls":3},"(单位盖章)"]
[null,null,"造价咨询人:"]
[{"$nulls":3},"(单位盖章)"]
[null,null,"2016年8月5日"]
["           "]
[{"$nulls":10},"封-1"]

{"sheet":"封-1招标工程量清单封面(单位工程)(0)","index":1,"n_rows":18,"n_cols":11,"rows_kept":18,"merged":[[1,2,1,8],[4,0,4,11],[8,0,8,11],[9,0,9,11],[10,0,10,11],[11,3,11,8],[12,3,12,8],[13,3,13,8],[14,3,14,8],[15,2,15,8],[16,0,16,1],[16,2,16,3],[16,4,16,6]],"flags":["formulas_cached_only"]}
[]
[null,null,"单位工程",{"$nulls":6},"工程"]
[]
[]
["招标工程量清单"]
[]
[]
[]
[]
[]
[]
["   ",null," 招  标  人:"]
[{"$nulls":3},"(单位盖章)"]
[null,null,"造价咨询人:"]
[{"$nulls":3},"(单位盖章)"]
[null,null,"2016年8月5日"]
["           "]
[{"$nulls":10},"封-1"]

{"sheet":"扉-1招标工程量清单扉页(0)","index":2,"n_rows":25,"n_cols":8,"rows_kept":25,"merged":[[0,0,0,8],[1,2,1,5],[3,0,3,8],[4,0,4,8],[6,0,6,2],[6,3,6,7],[8,0,8,1],[8,2,8,3],[8,6,8,7],[9,2,9,3],[9,6,9,7],[12,0,12,1],[13,0,13,1],[13,2,13,3],[13,6,13,7],[14,2,14,3],[14,6,14,7],[15,0,15,3],[15,4,15,8],[17,0,17,1],[17,2,17,3],[17,6,17,7],[18,2,18,3],[18,6,18,7],[22,0,22,1],[22,2,22,3],[22,6,22,7]],"flags":["formulas_cached_only"]}
[]
["                  ",null,"江南店搬迁室外幕墙工程",{"$nulls":3},"工程"]
[]
[]
["招标工程量清单"]
[]
[]
[]
["招  标  人：",{"$nulls":4},"造价咨询人："]
[null,null,"(单位盖章)",{"$nulls":3},"(单位资质专用章)"]
[]
[]
["法定代表人 ",{"$nulls":4},"法定代表人 "]
["或其授权人：",{"$nulls":4},"或其授权人:"]
[null,null,"(签字或盖章)",{"$nulls":3},"(签字或盖章)"]
[]
[]
["编 制 人:",{"$nulls":4},"复 核 人："]
[null,null,"(造价人员签字盖专用章)",{"$nulls":3},"(造价工程师签字盖专用章)"]
[]
[]
[]
["编制时间:",null,"2016年8月5日",null,null,"复核时间：","2016年8月5日"]
[]
[{"$nulls":7},"扉-1"]

{"sheet":"扉-1招标工程量清单扉页(单位工程)(0)","index":3,"n_rows":25,"n_cols":8,"rows_kept":25,"merged":[[0,0,0,8],[1,2,1,5],[3,0,3,8],[4,0,4,8],[6,0,6,2],[6,3,6,7],[8,0,8,1],[8,2,8,3],[8,6,8,7],[9,2,9,3],[9,6,9,7],[12,0,12,1],[13,0,13,1],[13,2,13,3],[13,6,13,7],[14,2,14,3],[14,6,14,7],[15,0,15,3],[15,4,15,8],[17,0,17,1],[17,2,17,3],[17,6,17,7],[18,2,18,3],[18,6,18,7],[22,0,22,1],[22,2,22,3],[22,6,22,7]],"flags":["formulas_cached_only"]}
[]
["                  ",null,"单位工程",{"$nulls":3},"工程"]
[]
[]
["招标工程量清单"]
[]
[]
[]
["招  标  人：",{"$nulls":4},"造价咨询人："]
[null,null,"(单位盖章)",{"$nulls":3},"(单位资质专用章)"]
[]
[]
["法定代表人 ",{"$nulls":4},"法定代表人 "]
["或其授权人：",{"$nulls":4},"或其授权人:"]
[null,null,"(签字或盖章)",{"$nulls":3},"(签字或盖章)"]
[]
[]
["编 制 人:",{"$nulls":4},"复 核 人："]
[null,null,"(造价人员签字盖专用章)",{"$nulls":3},"(造价工程师签字盖专用章)"]
[]
[]
[]
["编制时间:",null,"2016年8月5日",null,null,"复核时间：","2016年8月5日"]
[]
[{"$nulls":7},"扉-1"]

{"sheet":"表-08分部分项工程和单价措施项目清单与计价表(0)","index":4,"n_rows":63,"n_cols":15,"rows_kept":63,"merged":[[4,6,4,14],[7,0,7,14],[8,6,8,14],[9,6,11,6],[9,7,11,7],[9,8,11,8],[9,9,11,9],[9,10,11,10],[9,11,11,11],[9,12,9,14],[10,12,11,12],[10,13,11,13],[12,8,12,9],[19,8,19,9],[21,6,21,12],[22,6,22,12],[23,6,23,14],[24,6,24,14],[25,6,25,14],[28,0,28,14],[29,6,29,14],[30,6,32,6],[30,7,32,7],[30,8,32,8],[30,9,32,9],[30,10,32,10],[30,11,32,11],[30,12,30,14],[31,12,32,12],[31,13,32,13],[38,6,38,12],[39,6,39,12],[59,6,59,12],[60,6,60,12],[61,6,61,14],[62,6,62,14]],"flags":["formulas_cached_only"]}
[{"$nulls":6},"序号","项目编码","项目名称","项目特征描述","计量单位","工程量","金 额(元),综合单价","金 额(元),合价","金 额(元),其中，暂估价"]
["2013规范报表(招标)a表-08分部分项工程和单价措施项目清单与计价表"]
[{"$nulls":6},"1","2","3","4","5","6",7,8,9]
[]
[{"$nulls":3},0,null,null,"分部分项工程和单价措施项目清单与计价表"]
[]
[]
[]
["pg",{"$nulls":5},"工程名称：单位工程                   标段：                         第1页 共2页"]
[{"$nulls":6},"序号","项目编码","项目名称","项目特征描述","计量单位","工程量","金 额(元)"]
[{"$nulls":12},"综合单价","合价","其中"]
[{"$nulls":14},"暂估价"]
["bt",null,null,0,{"$nulls":4},"A 展厅幕墙工程"]
["qd","1",null,0,null,null,"1","011209001001","带骨架幕墙","1.骨架材料种类、规格、中距 160*80*6mm钢方管表面氟碳喷涂，钢横梁不锈钢背栓，铝合金挂件连接（铝合金压块及附框),中距2167mm\r\n2.面层材料品种、规格、颜色 8+12A+8mm中空钢化low-e玻璃\r\n3.面层固定方式 结构件连接 密封胶密封\r\n4.隔离带、框边封闭材料品种、规格 后置埋件（300*200mm镀锌钢板）\r\n","m2",{"v":275,"d":"275.00"}]
["qd","1",null,0,null,null,"2","011209001002","带骨架幕墙","1.骨架材料种类、规格、中距 160*80*6mm钢方管表面氟碳喷涂，钢横梁不锈钢背栓，铝合金挂件连接（铝合金压块及附框),中距2167mm\r\n2.面层材料品种、规格、颜色 8+12A+8mm中空钢化low-e玻璃\r\n3.面层固定方式 结构件连接 密封胶密封\r\n4.隔离带、框边封闭材料品种、规格 后置埋件（300*200mm镀锌钢板）","m2",{"v":317,"d":"317.00"}]
["qd","1",null,0,null,null,"3","011209001003","带骨架幕墙","1.骨架材料种类、规格、中距 5号热镀锌角钢\r\n2.面层材料品种、规格、颜色 3mm氟碳喷涂银色铝单板\r\n3.嵌缝、塞口材料种类 幕墙耐候胶密封 成品保护 具体节点做法详见设计图纸\r\n","m2",{"v":25,"d":"25.00"}]
["qd","1",null,0,null,null,"4","010805005001","全玻自由门","1.门代号及洞口尺寸 全玻门\r\n2.门框或扇外围尺寸 12mm钢化透明玻璃\r\n3.框材质 玻璃地弹簧，门夹/门把手\r\n\r\n","m2",8.64]
["qd","1",null,0,null,null,"5","011701002001","外脚手架",null,"m2",{"v":600,"d":"600.00"}]
["qd","1",null,0,null,null,"6","010805001001","电子感应门"," 电机 轨道 感应器  感应门钢骨架","樘",{"v":1,"d":"1.00"}]
["bt",null,null,0,{"$nulls":4},"A 售后接待幕墙工程"]
["qd","1",null,0,0,null,"7","011209001004","带骨架幕墙","1.骨架材料种类、规格、中距 160*60*6mm钢方管表面氟碳喷涂，钢横梁不锈钢背栓，铝合金挂件连接（铝合金压块及附框),中距2m\r\n2.面层材料品种、规格、颜色 6+12A+6mm中空超白low-e玻璃\r\n3.面层固定方式 结构件连接 密封胶密封\r\n4.隔离带、框边封闭材料品种、规格 后置埋件（200*200mm镀锌钢板）\r\n","m2",{"v":30,"d":"30.00"}]
["byxj",{"$nulls":5},"本页小计"]
[{"$nulls":6},"合    计"]
[{"$nulls":6},"未来软件编制                                                                           2016年08月05日"]
[{"$nulls":3},1,1,null,"                                                                                               表-08"]
[{"$nulls":3},0,null,null,"分部分项工程和单价措施项目清单与计价表"]
[]
[]
[]
["pg",{"$nulls":5},"工程名称：单位工程                   标段：                         第2页 共2页"]
[{"$nulls":6},"序号","项目编码","项目名称","项目特征描述","计量单位","工程量","金 额(元)"]
[{"$nulls":12},"综合单价","合价","其中"]
[{"$nulls":14},"暂估价"]
["qd","1",null,0,null,null,"8","011209001005","带骨架幕墙","\r\n\r\n1.嵌缝、塞口材料种类 幕墙耐候胶密封 成品保护 具体节点做法详见设计图纸 后置埋件（200*200mm镀锌钢板）\r\n骨架材料种类、规格、中距 160*60*6mm钢方管表面氟碳喷涂，钢横梁不锈钢背栓，铝合金挂件连接（铝合金压块及附框),中距2m\r\n2.面层材料品种、规格、颜色 3mm氟碳喷涂铝单板\r\n3.面层固定方式 结构件连接 密封胶密封\r\n\r\n4.隔离带、框边封闭材料品种、规格 后置埋件（200*200mm镀锌钢板）\r\n\r\n","m2",{"v":450,"d":"450.00"}]
["qd","1",null,0,null,null,"9","010805001002","电子感应门"," 电机 轨道 感应器  感应门钢骨架","樘",{"v":2,"d":"2.00"}]
["qd","1",null,0,null,null,"10"]
["qd","1",null,0,null,null,"11","011209001006","维修接待雨棚","详见施工图\r\n","m2",{"v":55,"d":"55.00"}]
["qd","1",null,0,null,null,"12","011701002002","外脚手架",null,"m2",455.23]
[{"$nulls":3},0,null,null,"分部分项合计"]
[{"$nulls":3},0,null,null,"单价措施合计"]
{"$rows_empty":19}
["byxj",{"$nulls":5},"本页小计"]
[{"$nulls":3},0,null,null,"合    计"]
[{"$nulls":3},0,null,null,"未来软件编制                                                                           2016年08月05日"]
[null,"f",{"$nulls":4},"                                                                                               表-08"]

{"sheet":"表-11总价措施项目清单与计价表(1)","index":5,"n_rows":47,"n_cols":9,"rows_kept":47,"merged":[[0,0,0,8],[1,0,1,8],[2,0,2,8],[43,0,43,4],[44,0,44,8],[45,0,45,8],[46,0,46,8]],"flags":["formulas_cached_only"]}
["总价措施项目清单与计价表"]
[]
["工程名称：单位工程                   标段：                          "]
["序号","项目编码","项 目 名 称","计算基础","费率(%)","金额(元)","调整\r\n费率(%)","调整后\r\n金额(元)","备注"]
["1","011707001001","安全文明施工"]
["1.1","1.1","基本费",null,"1.6"]
["1.2","1.2","增加费"]
["2","011707002001","夜间施工"]
["3","011707003001","非夜间施工照明"]
["4","011707005001","冬雨季施工"]
["5","011707006001","地上、地下设施、建筑物的临时保护设施"]
["6","011707007001","已完工程及设备保护"]
["7","011707008001","临时设施"]
["8","011707009001","赶工措施"]
["9","011707010001","工程按质论价"]
["10","011707011001","住宅分户验收"]
{"$rows_empty":27}
["合  计"]
["编制人（造价人员）:                                                       复核人（造价工程师）:        "]
["未来软件编制                                                                           2016年08月05日"]
["                                                                                               表-11"]

{"sheet":"表-12其他项目清单与计价汇总表(1)","index":6,"n_rows":46,"n_cols":5,"rows_kept":46,"merged":[[0,0,0,4],[1,0,1,4],[2,0,2,4],[43,0,43,1],[44,0,44,4],[45,0,45,4]],"flags":["formulas_cached_only"]}
["其他项目清单与计价汇总表"]
[]
["工程名称：单位工程                   标段：                          "]
["序号","项  目  名  称","金额(元)","结算金额(元)","备注"]
["1","暂列金额","60000",null,"明细详见表-12-1"]
["2","暂估价"]
["2.1","材料（工程设备）暂估价","—",null,"明细详见表-12-2"]
["2.2","专业工程暂估价",null,null,"明细详见表-12-3"]
["3","计日工",null,null,"明细详见表-12-4"]
["4","总承包服务费",null,null,"明细详见表-12-5"]
{"$rows_empty":33}
["合  计",{"$nulls":3},"—"]
["未来软件编制                                                                            2016年08月05日"]
["                                                                                               表-12"]

{"sheet":"表-12-1暂列金额明细表(1)","index":7,"n_rows":45,"n_cols":5,"rows_kept":45,"merged":[[0,0,0,4],[1,0,1,4],[2,0,2,4],[42,0,42,2],[43,0,43,4],[44,0,44,4]],"flags":["formulas_cached_only"]}
["暂列金额明细表"]
[]
["工程名称：单位工程                   标段：                          "]
["序号","项  目  名  称","计量单位","暂定金额(元)","备注"]
["1","暂列金额",null,{"v":60000,"d":"60000.00"}]
{"$rows_empty":37}
["合   计",null,null,{"v":60000,"d":"60000.00"},"—"]
["未来软件编制                                                                            2016年08月05日"]
["                                                                                             表-12-1"]

{"sheet":"表-12-2材料(工程设备)暂估单价及调整表(1)","index":8,"n_rows":8,"n_cols":13,"rows_kept":8,"merged":[[0,0,0,12],[1,0,1,12],[2,0,2,12],[3,0,4,0],[3,1,4,1],[3,2,4,2],[3,3,4,3],[3,4,3,5],[3,6,3,7],[3,8,3,9],[3,10,3,11],[3,12,4,12],[5,0,5,6],[6,0,6,12],[7,0,7,12]],"flags":["formulas_cached_only"]}
["材料(工程设备)暂估单价及调整表"]
[]
["工程名称：单位工程                    标段：                          "]
["序号","材料编码","材料(工程设备)名称、规格、型号","计量\r\n单位","数量",null,"暂估(元)",null,"确认(元)",null,"差额±(元)",null,"备注"]
[{"$nulls":4},"投标","确认","单价","合价","单价","合价","单价","合价"]
["合  计"]
["未来软件编制                                                                              2016年08月05日"]
["                                                                                               表-12-2"]

{"sheet":"表-12-3专业工程暂估价及结算价表(1)","index":9,"n_rows":45,"n_cols":7,"rows_kept":45,"merged":[[0,0,0,6],[1,0,1,6],[2,0,2,6],[42,0,42,2],[43,0,43,6],[44,0,44,6]],"flags":["formulas_cached_only"]}
["专业工程暂估价及结算价表"]
[]
["工程名称：单位工程                   标段：                          "]
["序号","工 程 名 称","工 程 内 容","暂估金额(元)","结算金额(元)","差额±(元)","备注"]
{"$rows_empty":38}
["合   计",null,null,{"v":0,"d":"0.00"},null,null,"—"]
["未来软件编制                                                                            2016年08月05日"]
["                                                                                             表-12-3"]

{"sheet":"表-13规费、税金项目计价表(1)","index":10,"n_rows":12,"n_cols":6,"rows_kept":12,"merged":[[0,0,0,5],[1,0,1,5],[2,0,2,5],[4,2,7,2],[9,0,9,3],[10,0,10,5],[11,0,11,5]],"flags":["formulas_cached_only"]}
["规费、税金项目计价表"]
[]
["工程名称：单位工程                   标段：                          "]
["序号","项 目 名 称","计算基础","计算基数(元)","计算费率(%)","金额（元）"]
["1","规  费","分部分项工程费+措施项目费+其他项目费-工程设备费"]
["1.1","社会保险费",null,null,"2.2"]
["1.2","住房公积金",null,null,"0.38"]
["1.3","工程排污费",null,null,"0.1"]
["2","税  金","分部分项工程费+措施项目费+其他项目费+规费-按规定不计税的工程设备金额",null,"3.48"]
["合  计"]
["未来软件编制                                                                            2016年08月05日"]
["                                                                                               表-13"]

{"sheet":"表-20发包人提供材料和工程设备一览表(1)","index":11,"n_rows":13,"n_cols":10,"rows_kept":13,"merged":[[0,0,0,9],[1,0,1,9],[2,0,2,9],[10,0,10,5],[11,0,11,9],[12,0,12,9]],"flags":["formulas_cached_only"]}
["发包人提供材料和工程设备一览表"]
[]
["工程名称：单位工程                   标段：                          "]
["序号","材料编码","材料(工程设备)\r\n名称、规格、型号","单位","数量","单价(元)","合价(元)","交货\r\n方式","送达\r\n地点","备注"]
["1","03290200","地弹簧  ","个",null,{"v":0,"d":"0.00"}]
["2","06050108","钢化玻璃  12mm","m2",null,{"v":0,"d":"0.00"}]
["3","06110210","中空Low-E玻璃超白  8+12A+6","m2",null,{"v":0,"d":"0.00"}]
["4","06110210","中空Low-E玻璃  6+12A+6","m2",null,{"v":0,"d":"0.00"}]
["5","08052120","氟碳喷涂铝单板  3mm","m2",null,{"v":0,"d":"0.00"}]
["6","09493505","自动感应门感应装置  ","套",null,{"v":0,"d":"0.00"}]
["合  计",{"$nulls":5},{"v":0,"d":"0.00"}]
["未来软件编制                                                                            2016年08月05日"]
["                                                                                               表-20"]